## Sheet2 (hidden)
frequency | Critical
per day | yes
per week | no
per admission

## Clean sheet
Product |  | Example of reference | Reference of request | Critical | Décision ECMO | Décision Intubate | Décision Prone | Décision Nasal therapy | Décision oxymask | Décision Frequency | Comment
Ambumask- Masque insuflateur |  |  |  | yes | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | per admission
Aspirationpotten - bocaux d'aspiration - aspiration Pot (usage unique ) |  |  | Cardinal Health 65652-616A | yes | 1 | 1 | 1 | 1 | 1 | per day
Aspiratie zak (te gebruiken met multiple use pot) - sac d'aspiration (pour utilisation avec bocaux réutilisation ) - aspiration bag (to use with multiple use bag) |  | Firma Halyard ref : 320G90201 |  | no | 2 | 2 | 2 | 1 | 1 | per day | we assume the pot is present and only check the stock for the consumable
HEPA & bacterieel filer - Filtre HEPA & anti bactériel machine - HEPA & Bacterial filter machine | Number 6 on the picture tab | Firma Maquet ref: 6671775 & 6595487 / Firma international medical filtre PALL ref 26461/ Firma Intersurgical ref : 1944000 filtre filta guard/ Firma Duchateau ref: 7070TFW2 + 9520007/ Frima acertys ref : M1043234/ Firma Intersurgical ref RT019 et 1790000 / Firma Carido ref HPT Medi 300.200.000 / firma TR ref : 41312 / | Teleflex - 19401 International Medical BB50T en Teleflex 28022 Drager SAFE STAR EN TWIN STAR Vygon - 0ZB4222/02AS vygon - 55103 |  | 2 | 2 | 2 | 1 | 1 | per admission
Bloedgasspuiten met clave - seringues pour gazométrie - Blood gas analyser syringe |  | Firma BD ref : 364316 + 364376 /firma Smith Medical ref: 4042E / firma Radiometer ref: 956-622 | Smith medical 4042E | yes | 12 | 12 | 12 | 6 | 6 | per day
Dubbel beademing circuit (invasieve) - circuit respiratoire double - Breathing circuit double | Number 4+ 5 on the picture tab | firma Drager ref : MP00349 / frima ACERTUS ref : patient circuit 2005000 + Réf 300/13316 « Dar Adult Breathing circuit – BLOC» / firma HPT ref: MEDI 038-01-104XSTR(550000180) / | Medtronic 300P13526 fisher and paykel RT109 hospitera MEDI038-01-104XSTR ref RT265 (F&P), T61500 (Acertys) | yes | 1 | 1 | 1 | 0 | 0 | per week
Buizen beademing (niet invasieve) - Circuit respiratoire (unique - tuyau annelé) - Breathing circuit (single) |  |  | Vb./Par ex.: ref RT265 (F&P), T61500 (Acertys) | yes | 0 | 0 | 0 | 1 | 1 | per admission
Capno staalname CO2 - Capno ( kit d'échantillonage CO2) - capno sampling |  | Firma Acertys ref: 55-01-0017 |  | yes | 1 | 1 | 1 | 0 | 0 | per admission
Arteriële katheter - Cathéter artériel - arterial catheter |  | TR : SAC-00520 (search name ARROW) |  | yes | 1 | 1 | 1 | 1 | 1 | per admission
thermodilutie katheter - cathéter à thermo dilution (Nomenclature Inami/ Riziv - 159541) |  | Firma EDWARDS ref: 774F75 + ref: VLV8R5205 |  | yes | 0.33 | 0.33 | 0.33 |  | 0 | per admission | 0,33 car 1 patient sur 3
Centraal veneuze Katheter- Cathéter veineux central- Central venous catheter (multilumen (Minimum 3 voies )) |  | Firma Teleflex ref : EU-15703-EN / Firma TR ref: CV-12703 | EU-25855-N ¦ Teleflex CV-45854 OF EU-1584-EN OF Bbraun Certofix Protect Quattro 4167775P-07 of eventueel Vygon 159.207 | yes | 1 | 1 | 1 | 1 | 1 | per admission
Veneuze Katheter perifeer - Cathéter veineux périphérique - Venous catheter peripheral |  | Firma Bard ref: 7755305CE + 7655405CE + 6194355 |  |  | 1 | 1 | 1 |  |  | per admission
Gesloten aspiratiesysteem - système d'aspiration fermé - Closed aspirations system 24H |  | Firma Medtronic ref "dar closed suction" 444SP02114 / Firma intersurgical ref: 37200001 + 3240001 14ch/ Firma : Smiths medical ref : Z210-14 & Z110-14 /Firma Vygon ref: connecteur coudé 52600 | Medtronic - TY-care exel closed suct 58 cm 14 ch MC europe - BALLARD TRACH CARE FR14 227141865 Medtronic TY-CARE EXEL CLOSED SUCT 58CMCH14 (gesloten aspiratiesyst) - 444SP02114 BALLARD TRACH CARE FR14 227141865 Trach-care 72 dse gesloten aspiratie systeem ballard ¦ 2276-5 Intersurgical 3720001 | yes | 1 | 1 | 1 | 0 | 0 | per day
Gesloten aspiratiesysteem - système d'aspiration fermé - Closed aspirations system 48 h
Gesloten aspiratiesysteem - système d'aspiration fermé - Closed aspirations system 72 h |  | Firma IMP réf: 43,004,57,142 + 5101697 /Firma Intersurgical ref : 3720001
CO2 absorber korrels / Granulés absorbeurs CO2 . CO2 Absorber grains / chaux sodée |  | Firma intersurgical ref : 2196000, 2191001, 2186000, 2165000 | Drager medical - Cuvetten CO2 disposable MP01062 Acertys - CO2 KORRELS Litholyme prem.canister 1L 6ST/DS ref.55-01-0017 Acertys 8003138 | yes | 0 | 0 | 0 |  |  |  | Uniquement pour respirateur Anesthésie
EKG elektrode - Electrode ECG - ECG electrodes |  | Firma 3M ref 26605 - red dot |  | yes | 12 | 12 | 12 | 5 | 5 | per day
ECMO cannula arterial |  | firma Medtronic ref :96570-121 |  | yes | 1 |  |  |  |  | per admission
ECMO cannula venous |  | firma Medtronic ref: 96570-123 + 96570-119 |  | yes | 1 |  |  |  |  | per admission
ECMO Cardiohelp |  | Firma Sorin ref : 86060 |  | yes | 1 |  |  |  |  | per admission
Endotracheale tube maat - tube endotrachéal taille - Endotracheal tube size : 7-7,5 / 7,5 - 8/ 8,5 -9 | Number 1 on the picture tab | Firma Teleflex réf: 112482 / Firma Smiths medicla ref : 100-150-075 & 100-150-080 & 100-150-085 & 100-150-090 / firma Medtronic ref : 107-80 107-85 107-90 107-75/ | Medtronic - 107-70 / 107-75 /107-80 / 107-85 / 107-90 Endotracheale Tube Taperguard Evac 8,5 mm ¦ 18885 | yes | 1 | 2 | 2 |  |  | per admission
Maagsonde - sondage gastrique décharge salem - gastric feeding tube |  | Firma Cardinal réf : 888-264861 / firma CORD ref 8888-264846 |  | yes | 1 | 1 | 1 |  |  | per week
Nasogastrische voeding - Sonde nasogastrique entérale - Nasogastric feeding |  | Firma Nutricai microsonde Enfit réf 594570 + 594569 + 594570 + 594571 |  | yes | 1 | 1 | 1 |  |  | per week
Filter HME- Filtre HME - HME filter : patient | Number 3 on the picture tab | Firma Teleflex ref: 19401 /firma Acertys ref : "Filtre Hygrovent" 40820 + 377340-1 / firma hospithera ref : "filtre hygrovent 300-200-000 & M1004132 | Filtre Hygrobac 352/5805 de Mallinckrodt medical acertys healthcare | yes | 1 | 1 | 1 |  |  | per day | If real issue can change every 2 days
Neusbril / lunette d'oxygène/ Nasal cannula | see picture tab | Firma TR ref : 1103/ firma Vygon ref : Lunette à oxygène haut débit - Boussignac - 5561.503 | Salterlabs -251-5030 Monouso art 896 euromedis ref 156112 | yes |  |  |  | 1 | 1 | per week
Non-rebreathing mask - masque à oxygène à haute concentration | see picture tab |  |  | yes | 1 | 1 | 1 | 1 | 1 | per admission
Zuurstofmasker - masque à oxygène - Oxygen mask | see picture tab | Firma TR ref: Masque insufflateur (Masque N°5 - masque à oxygène) 41312 | AT médical - 191309 | yes | 1 | 1 | 1 | 1 | 1 | per admission
Prone matras - matelas dynamique |  | Firma Van vliet medical réf : D28503CE + D28590CE + réf CSM 2521 |  | yes | 1 | 1 | 1 |  |  | per admission
combinatie van beschikbaar Swivel elbow- catheter mount / Combination de Swivel elbow- catheter mount disponible | Number 2 on the picture tab | Firma teleflux ref : 191015-000150 / Firma Intersurgical ref : 5180000 /Firma Acertys ref: Catheter mount 15716DE + Catheter mount : NWS 13.505.00.015 + Catheter mount : NWS 13.506.00.015/ |  | yes | 1 | 1 | 1 |  | 1 | per week
Tracheostomy introducer set |  | Firma Teleflex ref : percuquick 121553 /Firma Graseby ref: 100_561_080 + 100_561_080/ Smiths medical 10/561/090 / Percutane tracheostomieset zonder canule ID 7,5mm , firma: Medtronic, ref. C-PTIS-350-HC-G / | Percuquick de chez 121553 de chez Téléflex Tracheostomie canule cuffed 8 ¦ Firma: Medtronic ¦ Referentie: 8CN85A Percutane tracheostomieset zonder canule ID 7,5mm , firma: Medtronic, ref. C-PTIS-350-HC-G COOK - C-PTIS-350-HC-G | no | 0.2 | 0.2 | 0.2 |  |  | per admission | 1 patient sur 5
Watertrap - trappe à eau |  | firma Medtronic ref: 306_8683 |  | yes |  | 1 | 1 |  |  | per admission
Optiflow nasal Canula - lunette à oxygène haut débit |  | Lunette Masque OPT944 OPT544 Medium | ZUURSTOFBRIL VOLW. HIGH FLOW ¦ 1600HF/7/14061 | yes |  |  |  | 1 |  | per admission
Tracheo filter climatrach - filtre trachéo avec oxygène Climatrach |  | Firma Hospithera ref: climatrach oxygène 300730 000 + humitrach oxygène 300740000 / Firma Medtronic ref : 353_19004 |  | yes | 0.8 | 0.8 | 0.8 |  |  | per day | 2 par jour pour patient trachéo / 1 patient sur 5
zuurstof nasale buis - sonde nasale à oxygène - oxygen nasal tube |  | Firma Medicoplast ref: 302008 / firma NTS ref : 28-19005182 + 28-19006182 + 19031182 | [5 empty] | 2 |  | per week
toedieningssysteem - système d'administration pour le gavage - gavage administration kit = trousse Enfit administration entérale |  | Firma Nutricia ref: 586514 |  |  |  | 1 | 1 |  |  | per admission
Enfit Spuit (enteral voeding)- seringue Enfit (nutrition entérale) |  | Firma Nutrica ref: 124823 + 13011610 |  |  | 1 | 1 | 1 |  |  | per day